Republic of the Philippines

City/Municipality of  _____________________

Province of  __________________________________

OFFICE OF THE BUILDING OFFICIAL

Certificate of Operation:

Indoor/Outdoor Station Transformer

(Per Station Transformer)

Date Issued

No.

Fee Paid

Official Receipt No.

Date Paid

This Certificate of Operation: _______________________________ is issued/granted pursuant to pertinent provision of the latest Philippine Electrical Code, the National Building Code and its Implementing rules and Regulations.

Name of Owner/Lessee______________________________________________________________________

Located at/along ___________________________________________________________________________

kVA___________________________________________________________________________________________

Description/Manufacturer _________________________________________________________________

Primary Voltage _____________________________________________________________________________

Secondary Voltage__________________________________________________________________________

Phase  ________________________________________________________________________________________

Type of Insulating Fluid _____________________________________________________________________

The owner/lessee shall properly maintain the electrical equipment/machinery to ensure its safe operation.

No change, addition or upgrading/alteration deviating from the original electrical plans shall be made without appropriate permit.

The aforementioned Station Transformer may now be operated for a period of one (1) year from the date of inspection.

The owner/lessee of the building/structure shall notify in writing the office of the building official for the granting/issuance of a Certificate of Operation: Indoor / Outdoor Station Transformer for a period of one (1) year from the date of issuance of this certificate and yearly thereafter.

A certified copy hereof shall be posted within the premises of the building and shall not be removed without authority from the building official.

## Building Official

(Signature Over Printed Name)

Date_______________________

NBCFORM NO.  E - 07

Certificate of Operation:

Indoor / Outdoor Station Transformer

(Per Station Transformer)

Name of Owner/Lessee

Located at/along

A certificate was submitted by _________________________________________ a duly licensed (): (  ) professional electrical engineer/ (  ) registered electrical engineer/ (  ) registered master electrician hired by the owner who undertook the electrical  inspection and that the installation is in order.

PRC License No.__________, Issued____________ with validity_____________

Verified as to the following

kVA______________________________________________________________________

Description/Manufacturer____________________________________________

Primary Voltage________________________________________________________

Secondary voltage ____________________________________________________

Phase ___________________________________________________________________

Type of Insulating Fluid________________________________________________

Insulation Power Factor Test_________________________________________

Watts Loss_____________________________________________________________

Leakage Reactance Test_______________________________________________

Exciting Current Test _________________________________________________

Transformer Turns Ratio______________________________________________

Verified on _____________________________________________________________

Expires on______________________________________________________________

Inspection Fee Paid____________________________________________________

Official Receipt No.___________________________________________________

Date Issued____________________________________________________________

The above described electrical installation covered by Electrical Permit No._____________________ issued on ___________________has been found substantially satisfactory complied, therefore the “Certificate of Operation: Indoor/Outdoor Station Transformer” is hereby recommended for issuance.

(Name)

Chief, Electrical Section

(Signature Over Printed Name)

Date________________________

_________________       _________________

PRC REG. NO.                 VALIDITY

Chief,

Inspection and Enforcement Division

(Signature Over Printed name)

Date_________________________

Chief,

Processing and Evaluation Division

(Signature Over Printed Name)

Date__________________________

Date

Date

Electrical  Inspector

(Signature Over Printed Name)

Date________________________

_________________       _________________

PRC REG. NO.                 VALIDITY